Mycoplasma p. Antigen

One-step Test

# Intended Use

Mycoplasma pneumoniae test  is a rapid qualitative immuno-assay for detecting the antigen of  Mycoplasma pneumoniae.

SUMMARY AND EXPLANATION OF THE TEST for

Mycoplasma pneumoniae is among the smallest of free-living organisms.  In humans, it is usually found in the throat and lungs and is susceptible to antimicrobial agents that inhibit protein synthesis (1).  The spread of mycoplasmal infections depends on close and prolonged contact between people, as it is transmitted by means of droplet nuclei from the respiratory tract (2).

Mycoplasmal infection may be asymptomatic or may produce upper respiratory tract disease or atypical pneumonia.  The pneumonia is difficult to differentiate from viral diseases by clinical means alone (1,2).  Laboratory tests such as isolation, Complement Fixation serology, and ELISA serology is helpful as an aid in the diagnosis (1, 2, 3, 4).

## Principles of the Tests

The quick one-step test utilizes a sandwich immunoassay system and the immunochromatographic detection assay, to be performed in one assay. If  Mycoplasma pneumoniae antigen is present in the sample in concentration above the detectionl, a labeled antigen-antibody-dye complex will be formed. This complex is then captured by  another antibody paired immobilized in the Test Zone (“T”) of the membrane, producing a visible pink-rose color band on the membrane. The color intensity will depend on the concentration of Mycoplasma pneumoniae antigen in the sample. On the other hand, a color band will always appear at the control zone (“C”).